## Eligible Measures List
Version 7.0 - Retrofit Program - Multi-Residential In-Suite Appliance Eligible Measures Worksheet - April 1, 2019
INSTRUCTIONS: In order to calculate the Participant Incentive amount, enter the number of units to be installed in the 'Quantity' column and the 'Total Participant Incentive' column will automatically populate based on this information. The model number and manufacturer must also be clearly indicated for each measure in the 'Model #' and 'Manufacturer' columns. The sum of the 'Total Participant Incentive' amounts will be displayed in the 'TOTAL PARTICIPANT INCENTIVE REQUESTED' field at the bottom of the worksheet. In order to receive your Participant Incentive payment, invoices showing proof of payment must be submitted to the IESO. It is recommended that you provide manufacturer technical specification sheets demonstrating that the equipment meets the program requirements. You may be required to provide additional information in connection with your Project in order for your Application to be approved. Note: This worksheet is intended for Participants’ information purposes only and is not binding on the IESO. Per the Program Requirements and Participant Agreement for the Retrofit Program, the Estimated Participant Incentives will be calculated through the online Retrofit Portal.
ENERGY STAR® REFRIGERATOR
Assumed Base case | Efficiency case | Notes | Model # | Manufacturer | Quantity | Unit Participant Incentive | Total Participant Incentive
Standard Refrigerator | ENERGY STAR® refrigerator | Eligible units shall be an ENERGY STAR® qualified refrigerator. Replaces an existing refrigerator unit equal to or greater than 15 years old. |  |  |  | $60.00 per refrigerator | 0
IN-SUITE TEMPERATURE CONTROLS
Assumed Base case | Efficiency case | Notes | Model # | Manufacturer | Quantity | Unit Participant Incentive | Total Participant Incentive
No in-suite temperature controls | In-suite temperature controls for electric space heating and cooling | Eligible measures include programmable thermostats and/or occupancy sensors linked to thermostats. A programmable thermostat must allow for programming both unoccupied/occupied setpoints and occupied/unoccupied time periods. Occupancy sensors must allow for the thermostat to switch between an occupied and unoccupied setpoints. |  |  |  | $20.00 per Thermostat and/or $20.00 per Occupancy Sensor | 0
Note: The Eligible Measures Lists and Eligible Measures Worksheets are based on assumptions and are subject to change and the incentive amounts do not include HST or other applicable taxes.
|  |  | TOTAL PARTICIPANT INCENTIVE REQUESTED: |  |  |  | 0
Name of Applicant:
Name of Company:
Building Address:

## Accessibility Disclaimer
This is a locked, fillable form and not all of the content in this document may be captured by a screen-reading device. If you require additional assistance to complete and submit this form, please contact retrofit@ieso.ca.

## Version Control (hidden)
Version Number | 7
Month | April
Day | 1
Year | 2019
Make sure to update the version number on the footer as there is no Excel function that can currently do this automatically

## Revision History (hidden)
Version Number | Date | Revision Type | Tab | Details
5 | 2013-12-18 | Formatting | Eligible Measures List | Blank columns and rows (far right and bottom) were hidden
5 | 2013-12-18 | Formatting | Version Control | Version control updated. Version: 5.0 Date: January 31, 2014
5 | 2013-12-31 | Clarification | Eligible Measures List | NOTE: Base case already included in version 4.0. Nothing was added
5 | 2014-01-01 | Revision No. | Eligible Measures List | Footer Revision No. was changed from V4.0 to V5.0
5 | 2014-01-02 | Clarification | Eligible Measures List | Base Case' was changed to 'Assumed Base Case' to be consistant with other worksheets
5 | 2014-12-05 | Formatting | Version Control | Version control updated. Version: 5.0 Date: December 12, 2014
7 | 2019-03-21 | Update | Eligible Measures List | Removed LDC language and included Retrofit portal note
7 | 2019-03-21 | Formatting | Version Control | Version control updated. Version: 7.0 Date: April 1, 2019 - note: updated from version 6.0; version 6.0 revision history not identified