## Eligible Measures List
Version 8.0 - Retrofit Program - Agribusiness Eligible Measures Worksheet - April 1, 2019
INSTRUCTIONS: In order to calculate the Participant Incentive amount, enter the number of units to be installed in the 'Quantity' column and the 'Total Participant Incentive' column will automatically populate based on this information. The model number and manufacturer must also be clearly indicated for each measure in the 'Model #' and 'Manufacturer' columns. The sum of the 'Total Participant Incentive' amounts will be displayed in the 'TOTAL PARTICIPANT INCENTIVE REQUESTED' field at the bottom of the worksheet. In order to receive your Participant Incentive payment, invoices showing proof of payment must be submitted to the IESO. It is recommended that you provide manufacturer technical specification sheets demonstrating that the equipment meets the program requirements. You may be required to provide additional information in connection with your Project in order for your Application to be approved. Note: This worksheet is intended for Participants’ information purposes only and is not binding on the IESO. Per the Program Requirements and Participant Agreement for the Retrofit Program, the Estimated Participant Incentives will be calculated through the online Retrofit Portal.
CREEP HEAT PADS |  | Model # | Manufacturer | Quantity (in units) | Unit Participant Incentive | Total Participant Incentive
Single creep heat pad. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL | up to 100 Watt maximum |  |  | 0 | $76 per heat pad | 0 | $ | 76 | per pad
Double creep heat pad. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL | up to 200 Watt maximum |  |  | 0 | $118 per heat pad | 0 | $ | 118 | per double pad
HIGH TEMPARATURE CUTOUT THERMOSTAT |  | Model # | Manufacturer | Quantity (in units) | Unit Participant Incentive | Total Participant Incentive
Temperature limiting thermostat. NEMA 4 or 4X. Must meet all applicable Code, standard, safety and regulatory requirements, including CSA/UL/CUL | Operating range 20 to 40 Celsius |  |  |  | $57 per thermostat | 0 | $ | 57 | per thermostat
CREEP HEAT CONTROLLER |  | Model # | Manufacturer | Quantity (in units) | Unit Participant Incentive | Total Participant Incentive
Heat Controller. NEMA 4 or 4X. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL | Only agricultural products designed for the use in animal housing facilities are eligible |  |  | 0 | $200 per controller | 0 | $ | 200 | per controller
HIGH EFFICIENCY VENTILATION EXHAUST FANS |  | Model # | Manufacturer | Quantity (in units) | Unit Participant Incentive | Total Participant Incentive
18" - 53" High Efficiency (HE) Fan. Only fans tested at either BESS Laboratory or AMCA-certified lab are eligible for the incentive. All fans must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/cUL. All 24" HE fans must as a minimum meet the ASABE EP566 standard. Fans must be on the RETROFIT Agricultural Ventilation Exhaust Fans list and be identified as High Efficiency or Ultra High Efficiency | 18-20" Fan |  |  |  | $76 per fan | 0 | $ | 76 | per fan
| 24" Fans |  |  |  | $156 per fan | 0 | $ | 1556 | per fan
| 36" Fans |  |  |  | $187 per fan | 0 | $ | 187 | per fan
| ≥48" Fans |  |  |  | $154 per fan | 0 | $ | 150 | per fan
Version 8.0 - Retrofit Program - Agribusiness Eligible Measures Worksheet - April 1, 2019
RECIRCULATION VENTILATION FANS |  | Model # | Manufacturer | Quantity (in units) | Unit Participant Incentive | Total Participant Incentive
High Volume Low Speed (HVLS) vertical ceiling mount fans minimum 8' diameter - All applications. HVLS fans must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL HVLS fans are used for summer convective cooling of livestock and poultry personnel. | HVLS fan ≥10 to <11 ft (1.0 hp) |  |  | 0 | $750 per fan | 0 | $ | 750 | per fan
| HVLS fan ≥11 to <19 ft (1.5 hp) |  |  | 0 | $1500 per fan | 0 | $ | 1500 | per fan
| HVLS fan ≥19 to ≤ 24 ft (2.0 hp) |  |  | 0 | $2000 per fan | 0 | $ | 2000 | per fan
LOW ENERGY LIVESTOCK WATERERS |  | Model # | Manufacturer | Quantity (per unit) | Unit Participant Incentive | Total Participant Incentive
Low-wattage waterer. Must be thermostat equipped and be completely insulated with min. 2" rigid insulation to be eligible for incentive. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL. | 300 W maximum, including waterline heat tracing elements. Insulation must be enclosed so as to be impervious to rodent, insect and livestock damage. Thermostat to be protected from mechanical and livestock damage. |  |  |  | $350 per waterer | 0 | $ | 350 | per waterer
PHOTOCELL AND TIMER FOR LIGHTING CONTROL |  | Model # | Manufacturer | Quantity (per unit) | Unit Participant Incentive | Total Participant Incentive
Timer + photocell. Timer to regulate on-off lighting schedule. Photocell to minimize daytime lighting operation. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL. | Incentive applicable only for barns in which ambient light level is increased enough by natural daylight entry to enable electric lighting to be switched off by photocell. |  |  |  | $175 per timer & photocell controller combination | 0 | $ | 175 | per timer & photocell controller combination
Version 8.0 - Retrofit Program - Agribusiness Eligible Measures Worksheet - April 1, 2019
DAIRY PLATE COOLER |  | Model # | Manufacturer | Quantity (per unit) | Unit Participant Incentive | Total Participant Incentive
Dairy Plate Cooler. Plate heat exchanger used for pre-cooling milk prior to refrigeration. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL. | Incentive applicable for installing new plate cooler for dairy farms where no pre-cooling previously existed. |  |  |  | $700 per plate cooler | 0 | $ | 700 | per plate cooler
Engine Block Heater Timer |  | Model # | Manufacturer | Quantity (per unit) | Unit Participant Incentive | Total Participant Incentive
Engine Block Heater Timer. Programmable timer for electric engine block heater. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL. | Plug-in programmable timer to control engine block heater. Minimum 15A rated for outdoor use. Program to operate heater for a maximum 3hrs per day. |  |  |  | $10 per timer | 0 | $ | 10 | per timer
Energy Star Electric Hot Water Heater for Dairy Farms |  | Model # | Manufacturer | Quantity (per unit) | Unit Participant Incentive | Total Participant Incentive
Energy Star Electric Hot Water Heater. 60 gal. minimum tank size. For use with dairy farms (assumed minimum herd size of 15 cows). The product must be approved and listed on the current Energy Star Certified Water Heaters List. | Energy Star Electric Hot Water Tank ≥ 60 gal. |  |  |  | $200 per water tank | 0 | $ | 200 | per water tank
https://www.energystar.gov/productfinder/product/certified-water-heaters/
Milk Scroll Compressor |  | Model # | Manufacturer | Quantity (per unit) | Unit Participant Incentive | Total Participant Incentive
Milk Scroll Compressor. New scroll compressor for milk cooling at dairy farms. (assumed minimum herd size of 15 cows). Must replace old inefficient reciprocating compressor for milk cooling. | New compressors must have a minimum EER of 12. |  |  |  | $750 per compressor | 0 | $ | 750 | per compressor
Solar Hot Water Collector for Dairy Farms |  | Model # | Manufacturer | Total Collector Area (in m2) | Unit Participant Incentive | Total Participant Incentive
Solar Hot Water Collector. Solar hot water collect for use at dairy farms. (assumed minimum herd size of 15 cows). To be used to supplement existing or new electric hot water tank heater (60 gal minimum). . | For augmentation or replacement of existing electric storage tank water heaters for dairy farms. |  |  |  | $320 / m2 of total solar collector area | 0 | $ | 320 | per m2 of total solar collector area
Eligible Measures receiving financial incentives generally funded by energy ratepayers or tax payers in the Province of Ontario must be deducted from the Eligible Incentive under the Retrofit Program. For example, Solar Hot Water Collector project receiving incentives under from the Ministry of Energy and Infrastructure's Ontario Solar Thermal Heating Incentive Program must be deducted from the Eligible Incentive amount as determined pursuant to this worksheet.
Version 8.0 - Retrofit Program - Agribusiness Eligible Measures Worksheet - April 1, 2019
DUAL AND NATURAL EXHAUST VENTILATION |  | Model # | Manufacturer | Quantity (in 1,000 livestock headcount) | Unit Participant Incentive | Total Participant Incentive
Dual and Natural Exhaust Ventilation System. For natural ventilation, no mechanical exhaust fans shall be installed. All ventilation is to be provided by chimneys and sidewall openings with curtains or sidewall insulated panels. For dual ventilation, exhaust fans are used to modulate exhaust air flow in cold months only. Chimneys and sidewall openings with curtains or sidewall insulated panels are used to provide ventilation in warm months. The total installed mechanical ventilation capacity shall not exceed the sum of Stage 1 (continuous) and Stage 2 (moisture control) minimum ventilation requirement. Installed dual and natural ventilation system must meet all applicable Code, standard, safety and regulatory requirements. | Egg layers |  |  | 0 | $320 per 1,000 birds | 0 | $ | 320 | per 1,000 birds
| Chicken broilers |  |  | 0 | $272 per 1,000 birds | 0 | $ | 272 | per 1,000 birds
| Turkeys |  |  | 0 | $904 per 1,000 birds | 0 | $ | 904 | per 1,000 birds
|  | Model # | Manufacturer | Quantity (in livestock headcount) | Unit Participant Incentive | Total Participant Incentive
| Swine - breeding & gestation |  |  | 0 | $4 per sow | 0 | $ | 4 | per sow
| Swine - growing & finishing |  |  | 0 | $4 per market-weight hog | 0 | $ | 4 | per market-weight hog
| Dairy -tie stall, year round housing |  |  | 0 | $28 per cow | 0 | $ | 28 | per cow
| Dairy -tie stall, outside in summer |  |  | 0 | $28 per cow | 0 | $ | 28 | per cow
|  | Model # | Manufacturer | Quantity (in 1,000 square meters) | Unit Participant Incentive | Total Participant Incentive
| Greenhouse - flowers |  |  | 0 | $1,008 per 1,000 square meters | 0 | $ | 1008 | per 1,000 square meters
Note: The Eligible Measures Lists and Eligible Measures Worksheets are based on assumptions and are subject to change and the incentive amounts do not include HST or other applicable taxes.
|  |  | TOTAL PARTICIPANT INCENTIVE REQUESTED: |  |  | 0
Name of Applicant:
Name of Company:
Building Address:
WORKSHEET
Agribusiness Worksheet
Agribusiness Worksheet
Lighting System Worksheet
Agribusiness Worksheet
Agribusiness Worksheet
Lighting System Worksheet
Agribusiness Worksheet
Agribusiness Worksheet
Lighting System Worksheet
Agribusiness Worksheet

## Version Control (hidden)
Version Number | 8
Month | April
Day | 1
Year | 2019
Make sure to update the version number on the footer as there is no Excel function that can currently do this automatically